Bidding Document

for

Procurement of one Portable Frequency Selective EMF Meter Equipment

Procurement Reference No: RBD2/ICTA/EMF Meter/02-25/02

Information & Communication Technologies Authority,

Level 9, The Celicourt

6, Sir Celicourt Antelme Street

Port Louis

Tel: (230) 2115333

24 Feb 2025

Letter of Invitation

Procurement Reference No: RBD2/ICTA/EMF Meter/02-25/02

24 February 2025

Dear Sir/ Madam,

Invitation for Bids for Supply of one Portable Frequency Selective EMF Meter Equipment

The ICT Authority invites you to submit your best bid for the items described in detail at “Section IV: Specifications and Performance Requirement”. Any resulting contract shall be subject to the terms and conditions referred to in the document.

Bids should be sent to the ICT Authority on the following dedicated mail: tenderbox@icta.mu, on or before Wednesday, 19 March by 14.00 hrs at latest. Late bids will be rejected.

Queries, if any, should be addressed to The Chairperson, Departmental Bid Committee by email on ctc@icta.mu.

Please prepare and submit your bid in accordance with the instructions given or inform the undersigned if you will not be submitting a bid.

Yours faithfully,

H. Bhoolah

Director of Finance & Admin

Section I: Invitation For Bids

- Preparation of Bids

You are requested to quote for the items mentioned in Section III by completing, signing and returning:

(a)		the Bid Letter in Section II with its annex for Bid Securing Declaration, where applicable; and

(b)	the List of Goods and Price Schedule in Section III;

(c)		the Specifications and Compliance Sheet in Section V; and

(d)	any other attachment deemed appropriate.

You are advised to carefully read the complete Invitation for Bids document, including the Special Conditions of Contract in Section VII, before preparing your bid. The standard forms in this document may be retyped for completion but the Bidder is responsible for their accurate reproduction.

2.	Validity of Bids

The Bid validity period shall be 90 days from the date of submission deadline.

3.	Delivery

Delivery shall be within two (2) months after acceptance and issue of Purchase Order. Deviation in delivery period shall be considered if such deviation is reasonable.

4.	Sealing and Marking of Bids

Bids should be clearly marked with the Procurement Reference Number, addressed to the Public Body with the Bidder’s name, address and contact details clearly stated.

5.	Submission of Bids

Bids should be submitted by email to tenderbox@icta.mu , not later than Wednesday, 19 March by 14.00 hrs. Bids by post or hand delivered should be addressed to The Chairman, Departmental Bid Committee, and reach The ICT Authority, Level 9, The Celicourt, 6, Sir Celicourt Antelme Street, Port Louis, Mauritius, by the same date and time at latest. Late bids will be rejected.

6.	Bid Opening

Bids will be opened by the The ICT Authority at its office The ICT Authority, Level 9, The Celicourt, 6, Sir Celicourt Antelme Street, Port Louis, Mauritius on Wednesday, 19 March by 14.15 hrs. Bidders or their representatives may attend the Bid Opening if they choose to do so.

7.	Evaluation of Bids

The Public Body shall have the right to request for clarifications during evaluation. Offers that are substantially responsive shall be compared on the basis of price or ownership cost to determine the lowest evaluated bid.

Bids from overseas suppliers or local agents to be delivered at port of entry will be converted in Mauritian Rupees on the basis of delivery to warehouse or final destination for comparison purpose to determine the lowest evaluated bid.

8.	Eligibility Criteria

To be eligible to participate in this Bidding exercise, you should:

- have the legal capacity to enter into a contract to supply the goods and related services;

- not be insolvent, in receivership, bankrupt, subject to legal proceedings for any of these circumstances or in the process of being wound up;

- not have had your business activities suspended;

- not have a conflict of interest in relation to this procurement requirement; and

- have a valid trading licence.

The Public Body may choose to request any bidder to substantiate compliance with these criteria.

9.	Documents Establishing Conformity of Goods and Related Services

X

Bidders shall submit along with their bids the documents marked         hereunder:

| (a) | Documents to establish conformity of goods as specified in Schedule of Requirements, highlighting deviations, if any, so as to establish substantial responsiveness of the proposed goods item; | X |
| --- | --- | --- |
| (b) | A list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period specified in the Specification and Performance Requirement Sheet, following commencement of the use of the goods. | X |
| (c) | Documentary evidence to establish to the satisfaction of the Purchaser that goods proposed, as per other than the brand name, catalogue numbers or standard as specified by the Purchaser, ensures substantial equivalence or are superior. | X |
| (d) | Evidence of the bidder’s technical capacity to be furnished by one or more of the following means: - a list of the principal deliveries effected in the past three years, with the sums, dates and recipients, whether public or private, involved; and - Type test certificates drawn up by official quality control institutes or agencies of recognized competence attesting the conformity of the goods with respect to specifications conformity. | X |
| (e) | Documentary evidence to establish Bidder’s ability to provide the service or to execute the installation with regard to their skills, efficiency, experience and reliability. | X |

10.	Technical Compliance

Bidders shall submit along with their bids documents, catalogues and any other literature to substantiate compliance with the required specifications and to qualify deviations if any with respect to Purchaser’s requirements.

The Specifications and Performance Requirements, and Compliance Sheet details the minimum specifications of the goods items to be supplied. The specifications have to be met, but no credit will be given for exceeding the specifications.

11. 	Prices and Currency of Bids

Bids may be priced in EUR or USD currency, except for local bidders who shall quote in Mauritian Rupees only.

The currency of evaluation will be Mauritian Rupees. Bids in other currencies will be converted to this currency for evaluation purposes only, using the exchange rates published by the Bank of Mauritius on the date of the bid submission deadline.

Goods supplied from overseas delivered to the Public Body at port of entry shall be on a CIF/CIP basis mentioning the ports of loading and entry with a breakdown in FOB, freight charges and insurance charges for evaluation purpose. The Purchaser reserves the right to subsequently choose any of the possible INCOTERMS conditions at placement of order.

12.	Bid Securing Declaration

Bidders are required to subscribe to a Bid Securing Declaration for this procurement process.

13.	Margin of Preference (Not Applicable)

14.	Award of Contract

The Bidder having submitted the lowest evaluated responsive bid and qualified to supply the goods items and related services shall be selected for award of contract. Award of contract shall be by issue of a Letter of Acceptance followed by a Purchase Order in accordance with terms and conditions contained in Section VI: Contract.

15.	Performance Security (Not Applicable)

16.	Notification of Award and Debriefing

The Public Body shall after award of contract, exceeding Rs 1 million, promptly inform all unsuccessful bidders in writing of the name and address of the successful bidder and the contract amount.

Furthermore, the Public Body shall attend to all requests for debriefing for contract exceeding Rs 1 million, made in writing within 30 days the unsuccessful bidders are informed of the award

17.	Integrity Clause

The Public Body commits itself to take all measures necessary to prevent corruption and ensures that none of its staff, personally or through his/her close relatives or through a third party, will in connection with the bid for, or the execution of a contract, demand, take a promise for or accept, for him/herself or third person, any material or immaterial benefit which he/she is not legally entitled to.

18.	Rights of Public Body

The ICT Authority reserves the right to accept or reject any bid or to cancel the bidding process and reject all bids at any time prior to contract award.

Section II: bid letter

(to be completed by Bidders)

[Complete this form with all the requested details and submit it as the first page of your bid with the Price list and documents requested above.  A signature and authorisation on this form will confirm that the terms and conditions of the RB prevail over any attachments. If your bid is not authorised, it will be rejected.]

| Bid addressed to: [ name of Public Body] | ICT Authority |
| --- | --- |
| Procurement Reference Number: | RBD2/ICTA/EMF Meter/02-25/02 |
| Subject matter of Procurement: | One Portable Frequency Selective EMF Meter Equipment |

- We offer to supply the items listed in the attached List of Goods and Price Schedule as per the defined specification, except for the qualified deviation [Bidder may delete this phrase in case of no deviation] and, in accordance with the terms and conditions stated in your Invitation for Bids referenced above.

- We confirm that we are eligible to participate in this Quotation exercise and meet the eligibility criteria specified in Section 1: Invitation for Bids.

- We undertake to abide by the Conduct of Bidders and Suppliers as provided under section 52 of Public Procurement Act during the procurement process and the execution of any resulting contract.

- We have read and understood the content of the Bid Securing Declaration (BSD) attached hereto and subscribe fully to the terms and conditions contained therein. We further understand that this subscription shall be construed as a Bid Securing Declaration which could lead to disqualification on the grounds mentioned in the BSD.

- The validity period of our Quotation is 90 days from the date of the bid submission deadline.

- We confirm that our quoted prices in the List of Goods and Price Schedule are fixed and firm and will not be subject to revision or variation, if we are awarded the contract prior to the expiry date of the Bid validity.

- The delivery period offered, from the date of issue of a Letter of Acceptance and a Purchase Order, is as shown in the List of Goods items and Price Schedule.

- We have taken steps to ensure that no person acting for us or on our behalf will engage in any type of fraud and corruption during our participation in the bidding process and we commit ourselves to observe the same principles if awarded the contract and during its execution.

We understand that transgression of the above is a serious offence and appropriate actions will be taken against such bidders/suppliers.

Bid Authorised by:

| Name of Bidder |  |  |  | Company’s Address and seal |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contact Person |  |  |  |  |  |  |
| Name of Person Authorising the Bid: |  |  |  | Position: |  | Signature: |
| Date |  |  | Phone No./E-mail |  |  |  |

Appendix to Bid Letter

## Bid Securing Declaration

By subscribing to the undertaking in the Bid letter:

I/We* accept that I/we* may be disqualified from bidding for any contract with any Public Body for the period of time that may be determined by the Procurement Policy Office under section 35 of the Public Procurement Act, if I am/we are* in breach of any obligation under the bidding conditions, because I/we*:

- have modified or withdrawn my/our* bid after the deadline for submission of  bids during  the period of bid validity specified by the me/us in the Bid letter; or

- have refused to accept a correction of an error appearing on the face of the bid; or

- having been notified of the acceptance of our bid by the (insert name of public body) during the period of bid validity, (i) have failed or refused to execute the Contract, if required, or (ii) have failed or refused to furnish the Performance Security, in accordance with the Instructions to Quote.

I/We* understand this Bid Securing Declaration shall cease to be valid (a) in case I/we am/are  the successful bidder, upon our receipt of copies of the contract signed by you and the Performance Security issued to you by me/us ; or (b) if I am/we are* not the successful Bidder, upon the earlier of (i) the receipt of your notification of the name of the successful Bidder; or (ii) thirty days after the expiration of the validity of my/our* bid.

In case of a Joint Venture, all the partners of the Joint Venture shall be jointly and severally liable.

*To delete as appropriate

Section III: List of Goods And Price Schedule

For Goods to be supplied by Overseas Suppliers or Local Agents delivered to the Purchaser at Port Of Entry

BID  FOR: One Portable Frequency Selective EMF Meter Equipment 		Procurement Ref  No. RBD2/ICTA/EMF Meter/02-25/02.

| INSTRUCTIONS TO THE PUBLIC BODY At time of preparation of the IFB, Columns A to E shall be filled in by the Public Body. Where specifications are necessary, attach the specifications and indicate “√” under column C [To be filled by the Public Body] |  |  |  |  |  |  | INSTRUCTION TO BIDDERS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Bidders shall fill-in columns F, G, H,I,&,J & K and fill the total stating currency F= mark with a *if an equivalent is quoted J= Rate per unit CIF/CIP (G+H+I) K=Total price for one item ( D x J) - If an equivalent is quoted, please attach to your quote appropriate technical information & specification - Bidders shall fill in and sign the bottom section of this page |  |  |  |  |  |  |  |  |
| A | B | C |  | D |  | E | F | G | H | I | J |  | K |  |  |
| Item no. | Description of Goods | √ |  | Quantity required |  | Unit of measures | * | Unit Price FOB | Freight Charges per unit | Insurance Charges per unit | Unit price CIF/CIP |  | CIF/CIP 1 Price per line item | Delivery (weeks/months) | Country of Origin |
| 1. | Portable Frequency Selective EMF Meter Equipment (As per detailed specification at Section IV – Specifications and performance requirement) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | TOTAL |  |  |  |  |  |  |  |
| NAME: |  |  |  |  | POSITION: |  |  | SIGNATURE |  |  |  | DATE OF SIGNING |  |  |  |
| NAME OF COMPANY: |  |  |  |  | ADDRESS: |  |  |  |  |  |  |  |  |  |  |

1 Price quoted as CIF payable to foreign suppliers may be in foreign currency except where the local Agent is itself the bidder the price payable to the local agent shall be in Mauritian Rupees equivalent as per exchange rate prevailing on date payment is made to obtain negotiable document drawn up on Purchaser’s name.

Key notes:    NA=NOT APPLICABLE, NQ=NO QUOTE

Section IV: Specifications And Performance Requirement

SPECIFICATION FOR PORTABLE FREQUENCY SELECTIVE EMF METER

The Information and Communication Technologies Authority (ICTA) is a body corporate established under Section 4 of the ICT Act, with objects and functions enshrined under Section 16 and 18 respectively of the ICT Act 2001, as amended.

One of the statutory functions of the ICT Authority, is to “ensure the safety and quality of every information and communication services including telecommunication service and, for that purpose, determine technical standards for telecommunication network, the connection of customer equipment to telecommunication networks”

As part of this function, the ICT Authority performs, amongst others, the following: -

- evaluation of radio communication installations,

- evaluation of general public exposure to non-ionising electromagnetic fields (EMF)

In light of the above, the ICT Authority intends to procure a portable frequency selective EMF meter to fulfill the above functions.

The minimum requirements for the portable frequency selective EMF meter are listed in Table 1 below: -

Table 1

| Functional parameters | Specifications | Requirements | Compliance (Yes/No) | Details of Non-Compliance |
| --- | --- | --- | --- | --- |
| General |  |  |  |  |
| The EMF meter should be able to assess exposure due to several transmitters separately and provide the exposure results for each transmitter as well as the total exposure values. |  |  |  |  |
| The EMF meter should be able to perform automatic safety evaluation against selectable standards such as ICNIRP and other configurable national standards. |  |  |  |  |
| The EMF meter should be able to generate exportable safety evaluation reports specifying the service, location, date/time, frequency range, and exposure values. |  |  |  |  |
| The EMF meter should be compliant to provisions of ITU R-REP-SM.2452-0 for Frequency Selective Meters. |  |  |  |  |
| The EMF meter should be able to provide results for the generation of radio frequency electromagnetic field level maps in accordance to Recommendation ITU-T K.113. |  |  |  |  |
| Technical |  |  |  |  |
| Frequency range | 9 kHz – 6 GHz or greater | Must include all radio services operated in the specified band as specified in MFAT. |  |  |
| Operating modes | Manual and automatic | The system must make it possible to differentiate between manual and automatic monitoring |  |  |
| Measurement of technical signal parameters | Code Selective module for 4G and 5G Mobile technologies |  |  |  |
| Measurement of technical signal parameters | Frequency | Measurements in accordance with ITU-R Recommendations, Radio Regulations, ICNIRP and National Standards |  |  |
|  | Results in field strength and exposure units |  |  |  |
|  | Measurement of each service with dedicated settings |  |  |  |
|  | Demodulators for Mobile Technologies |  |  |  |
| Data collection | Storage of measurement results and generation of reports | Interface for connection of peripheral equipment such as printers and PCs |  |  |
| Application software | User-friendly |  |  |  |
|  | Compatible with commercially available automated spectrum management software |  |  |  |
|  | Remote Control software |  |  |  |
| Equipment | Handheld and battery powered |  |  |  |
| Weight | ≤ 3 kg (including battery) | Should be portable and suitable for outdoor use |  |  |
| Antenna Input | Direct support for isotropic antennas (N-Connector, 50 Ohm) |  |  |  |
| Remote Control | Ethernet LAN Interface /USB | Remote control with external triggered functionalities |  |  |
| Display | Wide Colour Display for easy interpretation of results |  |  |  |
| Power Supply | AC, with external power supply unit (240V AC) |  |  |  |
| Calibration | Traceable calibration of the meter and the antennas |  |  |  |
| Warranty/Service Options | Guarantee of quality covering the smooth functioning, material and software during the warranty period |  |  |  |
|  | Calibration Service and Repair Service following warranty period |  |  |  |
|  | Specify regional office location for calibration, maintenance and supply of spare parts |  |  |  |
| Documentation | Manuals in English |  |  |  |
|  | Documentation of Calibration Values |  |  |  |
| Accessories |  |  |  |  |
| Suitcase Kit | Rugged casing for receiver and other accessories |  |  |  |
| Vehicle Adapter | 12V (Pluggable in Cigarette Lighter) |  |  |  |
| GPS Receiver /Antenna | Integrated GPS receiver |  |  |  |
| Carrying Bag | Soft carrying bag, Rainproof with chest strap |  |  |  |
| Optional |  |  |  |  |
| Spectrum Analysis | Spectrum Analysis option |  |  |  |
| Training | Training on assembly, installation, operation and maintenance |  |  |  |
| Backup Battery Pack | Backup plug-in power supply (Operating time ~ 4 hours on receiver mode) |  |  |  |

Section V: Specifications And Compliance Sheet

Procurement Reference Number:	RBD2/ICTA/EMF Meter/02-25/02

[Bidders should complete columns C and D with the specification of the goods offered. Also state “comply” or “not comply” and give details of any non-compliance/deviation to the specification required. Attach detailed technical literature if required. Authorise the specification offered in the signature block below.]

| Item No | Technical Specification Required |  |  | Compliance of Specification offered | Details of Non-Compliance/ Deviation (if applicable) |
| --- | --- | --- | --- | --- | --- |
| A | B |  |  | C | D |
| 1 | The EMF meter should be able to assess exposure due to several transmitters separately and provide the exposure results for each transmitter as well as the total exposure values. |  |  |  |  |
| 2 | The EMF meter should be able to perform automatic safety evaluation against selectable standards such as ICNIRP and other configurable national standards. |  |  |  |  |
| 3 | The EMF meter should be able to generate exportable safety evaluation reports specifying the service, location, date/time, frequency range, and exposure values. |  |  |  |  |
| 4 | The EMF meter should be compliant to provisions of ITU R-REP-SM.2452-0 for Frequency Selective Meters. |  |  |  |  |
| 5 | The EMF meter should be able to provide results for the generation of radio frequency electromagnetic field level maps in accordance to Recommendation ITU-T K.113. |  |  |  |  |
| 6 | Frequency range | 9 kHz – 6 GHz or greater | Must include all radio services operated in the specified band as specified in MFAT. |  |  |
| 7 | Operating modes | Manual and automatic | The system must make it possible to differentiate between manual and automatic monitoring |  |  |
| 8 | Measurement of technical signal parameters | Code Selective module for 4G and 5G Mobile technologies |  |  |  |
| 9 | Measurement of technical signal parameters | Frequency | Measurements in accordance with ITU-R Recommendations, Radio Regulations, ICNIRP and National Standards |  |  |
| 10 |  | Results in field strength and exposure units |  |  |  |
| 11 |  | Measurement of each service with dedicated settings |  |  |  |
| 12 |  | Demodulators for Mobile Technologies |  |  |  |
| 13 | Data collection | Storage of measurement results and generation of reports | Interface for connection of peripheral equipment such as printers and PCs |  |  |
| 14 | Application software | User-friendly |  |  |  |
| 15 |  | Compatible with commercially available automated spectrum management software |  |  |  |
| 16 |  | Remote Control software |  |  |  |
| 17 | Equipment | Handheld and battery powered |  |  |  |
| 18 | Weight | ≤ 3 kg (including battery) | Should be portable and suitable for outdoor use |  |  |
| 19 | Antenna Input | Direct support for isotropic antennas (N-Connector, 50 Ohm) |  |  |  |
| 20 | Remote Control | Ethernet LAN Interface /USB | Remote control with external triggered functionalities |  |  |
| 21 | Display | Wide Colour Display for easy interpretation of results |  |  |  |
| 22 | Power Supply | AC, with external power supply unit (240V AC) |  |  |  |
| 23 | Calibration | Traceable calibration of the meter and the antennas |  |  |  |
| 24 | Warranty/Service Options | Guarantee of quality covering the smooth functioning, material and software during the warranty period |  |  |  |
| 25 |  | Calibration Service and Repair Service following warranty period |  |  |  |
| 26 |  | Specify regional office location for calibration, maintenance and supply of spare parts |  |  |  |
| 27 | Documentation | Manuals in English |  |  |  |
| 28 |  | Documentation of Calibration Values |  |  |  |
| 29 | Suitcase Kit | Rugged casing for receiver and other accessories |  |  |  |
| 30 | Vehicle Adapter | 12V (Pluggable in Cigarette Lighter) |  |  |  |
| 31 | GPS Receiver /Antenna | Integrated GPS receiver |  |  |  |
| 32 | Carrying Bag | Soft carrying bag, Rainproof with chest strap |  |  |  |
| 33 | Spectrum Analysis | Spectrum Analysis option |  |  |  |
| 34 | Training | Training on assembly, installation, operation and maintenance |  |  |  |
| 35 | Backup Battery Pack | Backup plug-in power supply (Operating time ~ 4 hours on receiver mode) |  |  |  |

Specifications and Compliance Sheet Authorised By:

| Name: |  | Signature: |  |
| --- | --- | --- | --- |
| Position: |  | Date: |  |
| Authorised for and on behalf of: |  | Company |  |

Section VI: Contract Agreement And General Conditions Of Contract

Any resulting contract shall be placed by means of a Purchase Order/Letter of Acceptance and shall be subject to the General Conditions of Contract (GCC) for the Procurement of Goods (Ref. G/RFQ-GCC4/11-21) * (available on website ppo.govmu.org) except where modified by the Special Conditions below.

Section VII: Special Conditions Of Contract

Procurement Reference Number:	RBD2/ICTA/EMF Meter/02-25/02

The clause numbers given in the first column correspond to the relevant clause number of the GCC.

| Subject and GCC clause reference | Special Conditions |
| --- | --- |
| Site GCC 1.1(m) | The final destination for delivery of the Goods is: Information & Communication Technologies Authority, The Celicourt 6, Sir Celicourt Antelme Street Port Louis, 11302 Mauritius |
| Incoterms Edition GCC 4.2(b) | Incoterms shall be governed by the rules prescribed in Incoterms 2010. |
| Notices GCC 8.1 | Any notice shall be sent to the following addresses: For the ICT Authority, the address and the contact name shall be: The Executive Director, Information & Communication Technologies Authority Level 12, The Celicourt – 6, Sir Celicourt Antelme Street, Port-Louis Mauritius Tel: +(230) 211 5333 Fax: +(230) 211 9444 Email : ctc@icta.mu For the Supplier, the address and contact name shall be ________________________________ |
| Delivery and Documents GCC 13.1 | The Goods are to be delivered within 2 months from the date of Letter of Acceptance and Purchase Order. The shipping and other documents to be furnished by the Supplier are: - signed delivery note; - Invoice - Warranty Certificate |
| Terms of Payment GCC 16.1 | The structure of payments shall be: full payment following delivery of the Supplies and submission of an invoice and the documents listed in clause 13.1 |
| Terms of Payment GCC 16.3 | The Purchaser undertakes to effect payment within 21 working days from receipt of invoice after supply of the goods items to the satisfaction of the Purchaser and subject to the Supplier submitting all required documents. |
| Terms of Payment GCC 16.4 | The currency of payment shall be the currency of order specified at Section I - item 11 (Prices and Currency of Bids) and at Section III - List of Goods and Price Schedule above. |
| Performance Security GCC 18 | No performance security is required |
| Packing GCC 23.2 | The packing, marking and documentation within and outside the packages shall be: - sufficient to prevent the equipment from any damage during transportation. - Address of destination should be clearly marked outside the packages |
| Insurance GCC 24 | Equipment shall be fully insured against loss or damage during transportation. |
| Transportation GCC 25 | The Goods shall be delivered: CIF |
| Inspection and Tests GCC 26. | Goods will be inspected upon delivery. |
| Liquidated Damages GCC 27 | Liquidated damages for non-compliance with delivery terms are 1% per week to a maximum of 5% of the total cost of equipment. |
| Warranty GCC 28.3 | The minimum period of warranty life shall be 1 year |

Schedules

## Schedule 4: Bid Checklist Schedule

[Public Body to update this Checklist to ensure that it contains the documents required from Bidders for the specific procurement]

Procurement Reference No.: RBD2/ICTA/EMF Meter/02-25/02

| Description | Attached (please tick if submitted and cross if not) |
| --- | --- |
| Bid Letter |  |
| List of Goods and Price Schedule |  |
| Specification and Compliance Sheet |  |
| Evidences for conformity of Goods |  |

* Public Body to insert complete reference of the document applicable as at this date by consulting PPO’s website.